Slide 1

Let’s Jump In: Swimming Pools and Spas

will begin at 2:00 pm ET
 
Audio and Visual are provided through the on-line webinar system. This session is closed captioned. Individuals may also listen via telephone by dialing 1-857-232-0476 Access Code: 368564 This is not a toll-free number.

Slide 2

Captioning

Real-time captioning is provided; open the window by selecting the “CC” icon in the AUDIO & VIDEO panel

You can move and re-size the captioning window.

Within the window you change the font size, and save the transcript

Slide 3

About Your Hosts…

TransCen, Inc.

Mission Statement: Improving lives of people with disabilities through meaningful work and community inclusion

Mid-Atlantic ADA Center, a project of TransCen, Inc.

Funded by National Institute on Disability, Independent Living, and Rehabilitation Research (NIDILRR), Administration for Community Living, U.S. Department of Health and Human Services

Slide 4

Listening to the Webinar

Online:

- Please make sure your computer speakers are turned on or your headphones are plugged in

- Control the audio broadcast via the AUDIO & VIDEO panel

- If you have sound quality problems, please go through the AUDIO WIZARD by selecting the microphone icon within the AUDIO & VIDEO panel

Slide 5

Listening to the Webinar (cont.)

To connect by telephone: 1-857-232-0476, Pass Code: 368564 This is not a toll-free number

Slide 6

Customizing Your View

Resize the whiteboard where the presentation slides are shown to make it smaller or larger by choosing from the drop down menu located above and to the left of the whiteboard; the default is “fit page”

Slide 7

Customize Your View continued

Resize/Reposition the CHAT, PARTICIPANT, and AUDIO & VIDEO panels by “detaching” and using your mouse to reposition or “stretch/shrink”

Each panel may be detached using the 4 horizontal line icon in the upper right corner of each panel

Slide 8

Technical Assistance

If you experience technical difficulties

Use the CHAT panel to let us know

E-mail ADAtraining@transcen.org

Call 301-217-0124

Slide 9

Archive

- This webinar is being recorded and can be accessed within a few weeks

- You will receive an email with information on accessing the archive

Slide 10

Accessible Swimming Pools and Spas

Slide 11

Bill Botten

U.S. Access Board

Slide 12

Current ADA Standards

- DOJ’s 2010 Design Standards

- (mandatory March 15, 2012)

- Delay in application to Existing Swimming pools – (January 31, 2013)

Slide 13

Architectural Barriers Act (ABA)

- Architectural Barriers Act Accessibility Standard (ABAAS)

- Covers Federal facilities (e.g. pools at military facilities)

- Newly constructed and altered pools – GSA –  May 2006

- DOD – Oct 2008

Slide 14

Residential facilities

- Pools and spas included with State and local government residential facilities

- Private community residential pools (i.e. Home Owner’s Association) – generally not covered unless open to people other than residents and their guests

CONTACT DOJ FOR GUIDANCE – 800 514-0301

Images: Residential complex with swimming pools

Slide 15

Existing pool and spa facilities

Slide 16

What Standards Apply to ADA Existing Facilities?

- Title II — Program accessibility

- Title III — Readily achievable barrier removal

For more information, contact DOJ @ 800 514-0301

Slide 17

DOJ Technical Assistance

QUESTIONS AND ANSWERS: ACCESSIBILITY REQUIREMENTS FOR EXISTING SWIMMING POOLS AT HOTELS AND OTHER PUBLIC ACCOMMODATIONS

Topics Addressed

- Existing pools

- New construction and alterations

- Compliance dates

- Maintenance of accessible features

- Staff training

- Tax credits and deductions

Image: cover of DOJ's Accessible Pools Means of Entry and Exit technical assistance document

Slide 18

Scoping provisions (242)

Technical provisions (1009)

Slide 19

Swimming pools (242.2)

- Required means of access into the water

  - Over 300 linear ft of pool wall = 2 (one primary)

  - Less than 300 linear ft of pool wall = 1

  - lift or sloped entry

Slide 20

Permitted Means of Pool Access

Image: graphic illustrating the accessible means of access into a swimming pool or spa.

Slide 21

Sloped entries (1009.3)

Image: Figure 72 from the swimming pool guidelines showing the slope and landing requirements of a sloped entry.

Slide 22

Sloped entries

- Handrail height - 34 and 38 inches to the top of the gripping surface

- Handrail extensions required at top landing but not at the bottom

Images: graphic of sloped entry, and aquatic access wheelchair

Slide 23

Pool lift location (1009.2.1)

- Located where water does not exceed 48 inches

  - Exception - Where the entire pool depth is greater than 48 inches

  - No more than one required to be located in an area where the water level is 48 inches maximum

Image: Pool lift

Slide 24

Pool lift (1009.2.6)

- Armrests – if provided opposite water shall be removable or fold in raised or load position

- Footrests – must be provided and move with seat

Images: Three distinct pool lifts

Slide 25

Pool Lift Operation (1009.2.7)

- Capable of unassisted operation – both deck and water

Image: Self use control operated pool lifts

Slide 26

Transfer walls (1009.4.1 & 1009.4.2)

- Clear deck space -  60 inches x 60 inches, slope 1:48 maximum

- Height – 16 inches to 19 inches

Image: 2 illustrations showing transfer wall with one grab bar and transfer wall with two grab bars.

Slide 27

Grab Bars (1009.4.5)

- At least one

- Perpendicular to the pool wall and full depth of the transfer wall

- Gripping surface 4 to 6 inches above transfer walls.

- Where two grab bars - clearance between grab bars 24 inches minimum

Slide 28

Transfer system (1009.5.1)

- Platform

  - 19 in min depth

  - 24 in clear width

  - 16 in to 19 in height

- Surface – not sharp and  rounded edges

Image: illustration of transfer system platform and steps

Slide 29

Pool stairs (1009.6)

- Comply with stairs provisions, except as modified

- Handrail width 20 to 24 inches

- Extensions not required at bottom landing

Image: Photo of two women. one women is descending down a set of pool stairs into the water as the other women watches.

Image: Illustration of pool stairs

Slide 30

Spas (242.4)

- At least one means of entry:

- Lift - footrests not required

- Transfer wall

- Transfer system

Where provided, in a cluster, 5% but not less than one

Images: raised spa, lift on spa

Slide 31

Wading pools (242.3)

- At least one sloped entry - handrails not required

- Extend to the deepest part of the wading pool

Image: wading pool

Slide 32

Access Board Resources

- TA Guide

- Webinars

- Access Currents

- Completed Research

Slide 33

Where to direct questions

ADA National Network

(800) 949-4232 (voice/TTY)

www.ADATA.org

U.S. Department of Justice

Implementing regulation

(800) 514-0301 (voice)

(800) 514-0383 (TTY)

www.ADA.gov

U.S. Access Board

(800) 872-2253 (voice)

(800) 993-2822 (TTY)

(202) 272-0081 (FAX)

ta@access-board.gov

www.Access-Board.gov

Slide 34

Thank you for participating in today’s webinar

Next webinar session: Play Areas, May 29th, 2018

Slide 35

Thank you!

Mid-Atlantic ADA Center

Toll Free: 800-949-4232 (DC, DE, MD, PA, VA, WV)
Telephone: 301-217-0124
ADAinfo@transcen.org
www.ADAinfo.org